## Slide 1: Fire and Lockdown Procedures
Thameside Primary School
Last updated: June 2026

## Slide 2: Thameside’s Fire Evacuation Procedure
FIRE PROCEDURES
🔥 If you discover a fire
Activate the alarm using the nearest call point – red box near most exit doors.
If possible, inform the office of the exact location if you have seen a fire or seen smoke
Firefighting
Evacuation comes first – exit as quickly as possible with any children in your care
Only trained Fire Wardens may tackle small fires, and only if safe
🔔 When the alarm sounds
Continuous bell = evacuate immediately
Staff lead pupils/visitors to the playground assembly point
Staff without pupils exit via nearest route and report to the Headteacher/ SLT on the playground
Pupils leave in single file; last person closes the door
SBM/caretaker checks panel, investigates if safe, calls 999 if needed
🚶 At the assembly point
Pupils line up in class groups
Registers/visitor list brought out by admin staff
Teachers report missing children to the Headteacher
Do not re‑enter until cleared by Fire Service/Headteacher

## Slide 3: Thameside’s Lockdown Plan
The following procedures MUST be followed:
Partial Lockdown (no immediate risk of loss of life)
Alert to staff: ‘Partial shelter now’ will be communicated via email (and also via a member of SLT, if possible, circulating school asap)
In a partial lockdown staff and pupils should remain in the school building and all doors leading outside should be locked. No one should be allowed to enter or leave the building; however, teaching and work can continue as usual. This may be as a result of a reported incident / civil disturbance in the local community with the potential to pose a risk to staff and pupils in the school. It may also be as a result of a warning being received regarding the risk of air pollution, etc.
Immediate action
* All outside activity to cease immediately, pupils and staff return to building.
* Staff supervising children should get children to line up immediately and walk into the school building via the nearest door. This may mean two classes coming through the same classroom doors.
* All staff and pupils remain in building and external doors and windows locked.
* Free movement may be permitted within the building dependent upon circumstances.
* In the event of an air pollution or chemical, biological or radiological contaminants issue, air vents, fans, heating and air conditioning systems should be closed or turned off.
* Use anything to hand to seal up all the cracks around doors and any vents into the room – you aim to minimise possible ingress of pollutants.
* Children need to remain quiet and calm (remind them of the acronym PAL).
* Staff should await further instructions.
All situations are different. Once all staff and pupils are safely inside, senior staff will conduct an ongoing and dynamic risk assessment based on advice from the Emergency Services. The Head teacher will inform the Local Authority.
A ‘partial lockdown’ may also be a precautionary measure, but puts the school in a state of readiness (whilst retaining a degree of normality) should the situation escalate.
Emergency Services will advise as to the best course of action in respect of the prevailing threat.

## Slide 4: Thameside’s Lockdown Plan
Full Lockdown (potential immediate risk of loss to life)
Alert to staff by email: ‘Full shelter now’ will be communicated by email (and also via a member of SLT, if possible, circulating school asap)
AND;
Listen: A pulsating intermittent alarm will sound signifying an immediate threat to the school and may be an escalation of a partial lockdown. The aim of a full lockdown is for the school and its rooms to appear empty.
Immediate action
* All pupils/staff stay in their classroom or if outside you and any children in your care should move quickly to the nearest classroom.
* Staff MUST block internal classroom doors using door wedges – a piece of furniture should be moved in front of the door, for example, if wedges are unavailable. Some doors can be locked from inside with a bolt or turning knob.
* If you are last person, please lock any external doors (if possible).
* Windows locked, blinds drawn, internal door windows covered (so an intruder cannot see in).
* Pupils/staff sit quietly out of sight and where possible in a location that would protect them from gunfire. Ideally they should congregate together close to an alternative exit, so that if necessary to evacuate this can be carried out quickly and quietly. They could sit underneath their desks if this is possible.
* Lights, smartboards and computer monitors turned off.
* Mobile phones turned off (or at the least turned onto silent so they cannot give away your position).
* A register to be taken of all pupils/staff in each classroom/office (recorded on paper). Once in full lockdown mode, staff should notify (by email) the office immediately of any pupils not accounted for and any additional pupils/staff in their classroom (if possible).
* Children need to remain quiet and calm (remind them of the acronym PAL - Pause; Adult; Listen).
* Staff should await further instructions.
A lockdown will remain in place until it has been lifted by a member of the school’s senior leadership team or by the emergency services. The official lockdown termination announcement to be used is ‘stop shelter’ (so that all staff know that it is authentic).
At any point during the lockdown, the fire alarm may sound which is a cue to evacuate the building (a fire alarm will always trump the lockdown) but be cautious and vigilant before exiting.